{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Опросный лист КЦКП Ацепей"],"not_rendered":{"charts":0,"images":16,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Опросный лист КЦКП Ацепей","index":0,"n_rows":192,"n_cols":31,"rows_kept":192,"cut":false,"hidden":false,"merged":[[8,0,8,1],[14,0,14,3],[146,0,146,31],[27,25,27,28],[27,19,27,24],[27,2,27,11],[27,12,27,15],[22,8,22,15],[3,0,3,31],[4,0,4,2],[5,0,5,5],[6,0,6,5],[7,0,7,3],[4,21,4,25],[6,21,6,31],[7,21,7,31],[4,5,4,15],[5,7,5,15],[6,7,6,15],[7,5,7,15],[8,4,8,15],[8,21,8,31],[24,0,24,31],[25,0,25,31],[16,0,16,3],[18,0,18,6],[22,0,22,6],[35,2,35,5],[29,2,29,6],[12,0,12,31],[33,27,33,28],[31,24,31,26],[33,24,33,25],[28,12,28,14],[28,16,28,17],[28,19,28,20],[29,44,29,45],[29,37,29,39],[48,2,48,7],[52,0,52,3],[50,0,51,6],[41,2,41,7],[45,9,45,13],[43,12,43,17],[37,21,37,29],[33,0,33,6],[51,8,51,11],[65,0,66,4],[50,23,51,28],[50,14,51,19],[66,6,66,9],[65,12,66,17],[37,0,37,8],[37,10,37,18],[29,41,29,42],[57,23,57,28],[59,23,59,28],[69,9,69,19],[63,9,63,19],[57,14,57,19],[59,14,59,19],[57,8,57,11],[59,8,59,11],[56,0,56,13],[54,0,54,3],[52,23,52,28],[54,23,54,28],[52,8,52,11],[52,14,52,19],[54,8,54,11],[54,14,54,19],[67,0,67,1],[67,3,67,4],[67,7,67,8],[67,12,67,17],[67,20,67,21],[67,23,67,24],[61,2,61,8],[65,27,66,30],[67,27,67,30],[80,12,80,14],[80,16,80,18],[71,0,71,1],[71,3,71,4],[71,7,71,8],[71,12,71,17],[80,22,80,24],[80,26,80,28],[82,2,82,6],[76,23,76,27],[77,22,77,24],[77,26,77,28],[73,2,73,7],[75,11,75,18],[77,12,77,14],[77,16,77,18],[79,4,80,9],[76,4,77,9],[72,22,72,28],[71,22,71,28],[88,27,88,30],[90,2,90,7],[93,14,93,15],[92,14,92,30],[85,27,85,30],[86,27,86,30],[86,21,86,24],[88,21,88,24],[88,16,88,18],[88,10,88,13],[85,21,85,24],[86,0,86,6],[93,23,93,25],[93,28,93,30],[93,18,93,20],[88,0,88,5],[86,10,86,13],[86,16,86,18],[84,16,85,18],[84,10,85,13],[105,2,105,5],[96,2,96,6],[99,0,99,3],[101,0,101,31],[103,2,103,11],[103,12,103,15],[103,19,103,24],[103,25,103,28],[104,8,104,10],[104,12,104,13],[104,15,104,16],[121,0,121,3],[121,22,121,27],[114,14,114,15],[114,18,114,20],[114,23,114,25],[114,28,114,30],[118,2,118,6],[107,0,107,7],[107,10,107,17],[107,21,107,29],[111,2,111,7],[113,14,113,30],[190,0,190,23],[191,0,192,22],[140,0,140,31],[141,0,141,31],[142,0,142,31],[143,0,143,31],[148,0,148,31],[144,0,144,31],[145,0,145,31],[147,0,147,31],[189,0,189,22],[129,17,131,21],[13,24,15,31],[43,19,43,26],[22,23,22,30],[183,20,185,28],[14,10,14,14],[16,10,16,14],[18,10,18,14],[14,17,14,20],[16,17,16,20],[18,17,18,20],[20,13,20,14],[20,17,20,18],[17,24,17,31],[19,24,19,31],[43,8,43,10],[149,2,149,17],[132,2,132,5],[134,3,134,11],[134,16,134,30],[136,2,136,15],[139,0,139,31],[138,0,138,31],[137,0,137,31]]}
[]
[]
[]
["Опросный лист на проектирование и изготовление кондиционера КЦКП"]
["Заказчик:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Дата:"]
["Контактное лицо:"]
["Город(область):",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Объект:"]
["тел/факс.:"]
["e-mail:"]
[]
[null,null,null,null,null,null,null,null,null,null,"нужное отметить",null,null,null,null,null,null,null,null,"R"]
[]
["Общие данные"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Независимо друг             от друга"]
["тип системы:",null,null,null,null,null,null,null,null,null,"Приточная",null,null,null,null,null,null,"Вытяжная"]
[]
["исполнение:",null,null,null,null,null,null,null,null,null,"Внутреннее",null,null,null,null,null,null,"Наружное"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"В два этажа"]
["сторона обслуживания:",null,null,null,null,null,null,null,null,null,"Правая",null,null,null,null,null,null,"Левая"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"В одной плоскости"]
["возможность применения моноблоков",null,null,null,null,null,null,null,null,null,null,null,null,"Да",null,null,null,"Нет"]
[]
["обозначение системы:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"кол-во установок:"]
[]
["Состав кондиционера  и технические характеристики"]
["Приток воздуха"]
[]
[null,null,"производительность по воздуху",null,null,null,null,null,null,null,null,null,null,null,null,null,"м3/ч",null,null,"свободный напор",null,null,null,null,null,null,null,null,null,"Па"]
[null,null,null,null,null,null,"t (температура)/","f (влажность)",null,null,null,null,"воздуха:",null,null,null,null,null,"/",null,null,"0С","/%"]
[null,null,"Вход воздуха"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"рециркуляция:",null,null,null,null,null,null,null,null,"%"]
[]
["Утепленный клапан",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"t /","f","выт.воздуха:",null,null,null,null,null,"/",null,null,"0С","/%"]
[]
[null,null,"Фильтры"]
[]
["грубая очистка: панельные",null,null,null,null,null,null,null,null,null,"грубая очистка: карманные",null,null,null,null,null,null,null,null,null,null,"тонкая очистка: карманные"]
[]
[null,null,null,"G3",null,"G4",null,null,null,null,null,null,null,"G3",null,"G4",null,null,null,null,null,"F5",null,"F6",null,"F7",null,"F8",null,"F9"]
[]
[null,null,"Нагрев воздуха"]
[]
["Тип теплоносителя ",null,null,null,null,null,null,null,"Вода",null,null,null,"Этиленгликоль",null,null,null,null,null,null,"Пропиленгликоль"]
[]
["Процент содержания гликоля ",null,null,null,null,null,null,null,null,null,null,null,null,null,"%"]
[]
[]
[null,null,"Нагрев воздуха"]
[]
["Воздухонагреватель водяной",null,null,null,null,null,null,null,null,"f",",%",null,null,null,"t °С воздуха           вход / выход",null,null,null,null,null,null,null,null,"t оС теплоносителя вход/выход"]
[null,null,null,null,null,null,null,null,"на входе"]
["1 подогрев"]
[]
["2 подогрев"]
[]
["Воздухонагреватель электрический"]
["1 подогрев"]
[]
["2 подогрев"]
[]
[null,null,"Охлаждение воздуха"]
[]
[null,null,null,null,null,null,null,null,null,"Воздухоохладитель водяной"]
[]
["t оС воздуха вход/выход",null,null,null,null,null,null,"f",",%",null,null,null,"производительность кВт.",null,null,null,null,null,null,null,"t оС теплоносителя",null,null,null,null,null,null,"содержание гликоля"]
[null,null,null,null,null,null,"на входе",null,null,null,null,null,null,null,null,null,null,null,null,null,"вход / выход"]
[null,null,"/",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"/"]
[]
[null,null,null,null,null,null,null,null,null,"Воздухоохладитель фреоновый"]
[]
[null,null,"/"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"(тип хладогента)"]
[null,null,"Теплоутилизация"]
[]
[null,null,null,null,null,null,null,null,null,null,null,"t оС воздуха прит./вытяж.",null,null,null,null,null,null,null,null,null,null,null,null,"f",",%"]
[null,null,null,null,"С пластинчатым теплообменником",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"прит. / вытяж."]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"/",null,null,null,null,null,null,null,null,null,"/"]
[]
[null,null,null,null,"С ротационным теплообменником"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"/",null,null,null,null,null,null,null,null,null,"/"]
[]
[null,null,"Увлажнение"]
[]
[null,null,null,null,null,null,null,null,null,null,"t оС воздуха вход",null,null,null,null,null,"d, г/кг вход",null,null,null,null,null,"f",",%",null,null,null,null,"f",",%"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"вход",null,null,null,null,null,"выход"]
["Сотовый увлажнитель"]
[]
["Пароувлажнитель"]
[]
[null,null,"Шумоглушение"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"длина пластин:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"500мм",null,null,null,"750 мм",null,null,null,null,"1000 мм",null,null,null,null,"1500 мм"]
[]
[]
[null,null,"Вентилятор "]
[]
[]
["Основной:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Резерв двигателя"]
[]
["Вытяжная часть"]
[]
[null,null,"производительность по воздуху",null,null,null,null,null,null,null,null,null,null,null,null,null,"м3/ч",null,null,"свободный напор",null,null,null,null,null,null,null,null,null,"Па"]
[null,null,null,null,null,null,"t /","f","воздуха:",null,null,null,null,null,"/",null,null,"0С","/%"]
[null,null,"Фильтры"]
[]
["грубая очистка: панельные",null,null,null,null,null,null,null,null,null,"грубая очистка: карманные",null,null,null,null,null,null,null,null,null,null,"тонкая очистка: карманные"]
[]
[null,"G2",null,"G3",null,"G4",null,null,null,null,null,null,"G3",null,null,"G4",null,null,null,null,null,"F5",null,"F6",null,"F7",null,"F8",null,"F9"]
[]
[null,null,"Шумоглушение"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"длина пластин:"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"500мм",null,null,null,"750 мм",null,null,null,null,"1000 мм",null,null,null,null,"1500 мм"]
[]
[]
[]
[null,null,"Вентилятор "]
[]
[]
["Основной:",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Резерв двигателя"]
[]
[]
[]
[]
["Гибкие вставки",null,null,null,null,null,null,"Узел регулирования",null,null,null,null,null,null,null,"Комплект автоматики",null,null,null,null,null,null,null,"Выход воздуха"]
[]
[null,null,null,"вход",null,null,null,null,null,null,"нет",null,null,null,null,null,null,"нет",null,null,null,null,null,null,null,"прямо"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"да (заполнить опросный лист)"]
[null,null,null,"выход",null,null,null,null,null,null,"да, типовой",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"выброс вверх"]
[]
[null,null,"Упаковка"]
[]
[null,null,null,"полиэтилен (по умолчанию)",null,null,null,null,null,null,null,null,null,null,null,null,"деревянная обрешетка (за дополнительную оплату)"]
[]
[null,null,"Дополнительные требования заказчика"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,"Схема установки со стороны обслуживания"]
[]
[null,null,"возможность загрузки файлов "]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Подпись:"]
[]
[]
["Примечания:"]
[" - Ответственность за заполнение опросного листа несет заказчик"]
[" - применения камер обслуживания определяется расчетчиком оборудования"]
[" - При заказе установки без автоматики, фирма не несет ответственности за размораживание теплообменников"]